### Project Overview: Skin Lesion Analysis (PH2 Dataset)

The project focuses on the automated analysis of skin lesions using the PH2 Dataset. The primary goal is to perform image processing tasks that assist in clinical diagnosis, such as lesion segmentation and feature extraction, culminating in the classification of skin conditions (e.g., melanoma).

### 1. Systems and Environment

The project is built using standard Python-based data science and image processing ecosystems:

- Platform: Developed in Google Colab, utilizing Google Drive mounting for dataset storage and management.

- Libraries:

  - OpenCV & NumPy: For core image manipulation and numerical array processing.

  - Matplotlib: For visualizing original dermoscopic images and processing results.

  - Scikit-learn: Used for the final evaluation stage, including generating confusion matrices and calculating accuracy, sensitivity, and specificity.

### 2. Methodology and Workflow

#### Step 1: Data Acquisition and Organization

The project interacts with the PH2 Dataset, which is organized into individual folders for each lesion (e.g., IMD003). For every lesion, the system identifies three key components:

- Dermoscopic Image: The raw medical photograph of the skin lesion.

- ROI (Region of Interest): Data defining the specific area for analysis.

- Lesion Mask: A ground-truth binary image used for comparison during segmentation tasks.

#### Step 2: Image Pre-processing

Raw images are loaded and standardized. This typically involves:

- Loading images in a format compatible with Python (e.g., .bmp files from the PH2 set).

- Converting or normalizing images to prepare them for frequency-based or spatial filtering.

#### Step 3: Feature Extraction and Filtering

While the specific filter types (like the Butterworth or Gaussian filters seen in earlier lab tasks) are applied to analyze image frequencies, the project uses these techniques to distinguish between the "smooth" skin background (low frequency) and the "sharp" details of the lesion edges (high frequency).

#### Step 4: Classification and Evaluation

The system makes a prediction ($y\_pred$) based on the extracted features and compares it against the clinical labels ($y\_test$). The performance is measured using several metrics:

- Confusion Matrix: A table used to describe the performance of the classification model (showing true positives vs. false negatives).

- Accuracy: The overall percentage of correct predictions (0.9 in the sample output).

- Sensitivity (Recall): The ability of the system to correctly identify melanoma (0.625 in the sample).

- Specificity: The ability to correctly identify non-melanoma cases (0.96875 in the sample).

### 3. Key Functionalities

- Automated Directory Traversal: The code programmatically navigates complex folder structures to find the correct dermoscopic and mask files for any given lesion ID.

- Medical Visualization: It provides side-by-side visual comparisons of medical images, which is essential for dermatological verification.

- Diagnostic Performance Analysis: It automates the calculation of clinical evaluation metrics, providing a quantitative score for how well the digital image processing algorithms perform against human expert "ground truth" labels.